# Hardware Specifications: 5G Base Station

This document details the hardware specifications for the new 5G base station deployments.

# Power Requirements

Input voltage: -48V DC nominal (-36V to -60V operational range).

Maximum power consumption under full load is 1500W.

# Cooling System

The base station uses active fan cooling. Fans must be replaced every 3 years to maintain optimal performance.